The Heating Effect of an

Electric Current

By Smith T. Powell III

Adapted ’99 by M. Crescimanno

Objectives: To measure the rise in temperature of a cup of water when electric power is supplied to a resistance heater immersed in the water for a given period of time, and to calculate from this the Mechanical Equivalent of Heat.

Principles: The Mechanical Equivalent of Heat is the energy, in Joules, equivalent to one Kilocalorie of heat. The kilocalorie is the heat required to raise the temperature to one kilogram of water by one degree Celsius (from 14.5ºC to 15.5ºC). While the range of temperatures is specified, we will assume the heat capacity of the water is constant throughout the temperature range of our experiment. The power supplied to a resistor is the energy dissipated per unit time, and is given by the product of the voltage across the resistor and the current through it.

P=VI

The energy dissipated in time t is, then, W=VIt. The heat required to raise the temperature of m kg of water from T1 to T2 is just Q=mc(T1-T2) kcal where c=1. The ratio of W and Q is called the Mechanical Equivalent of Heat.

Procedure: Connect the circuit as shown in the diagram below. Let the instructor check the circuit.

Weigh the empty Styrofoam cup. Fill the cup about half full of water, immerse the heating coil in the water and turn on the power supply. Adjust the voltage until about three amperes of current if flowing. Without changing the dial setting, turn off the power supply. Note the room temperature and refill the Styrofoam cup about half way with cold water at least 7 or 8ºC below room temperature (use a little ice if necessary). The thermometer will fit through the rubber stopper in the center. Weight the water in the cup. Record the initial temperature, immerse the coil in the water and turn the power supply back on, noting and recording the starting time. Record the current and the voltage across the coil. While gently stirring the water, and watching the temperature, allow the current to flow until the temperature is far above room temperature as it originally was below. Turn off the power, recording the time and the final temperature.

Calculate: The total energy put into the water (in Joules), and the heat required to raise the temperature by the measured about (in kilocalories). Calculate the Mechanical Equivalent of Heat and compare with the standard values 4186J/kcal (=4.186 J/cal).